## Dourous
كشف تقديري
لتنفيذ أشغال: اضافة طابقين سفليين لزوم مبنى في ثكنة المقر العام
متسلسل | نوع الاشغال ومواصفات الاشغال الفنية | الكمية | الوحدة | السعر الافرادي د.أ. |  | السعر الاجمالي د.أ.
|  |  |  | بالارقام | بالأحرف | بالارقام
General Items
2-1 | Additional Excavation works زيادة حفريات | 1395.75 | M3 | 7 |  | 9770.25 | 7.5
2-2 | removal of debries outside site نقل الحفريات الى مكان مسموح به خارج الورشة | 1395.75 | M3 | 10 |  | 13957.5
2-3 | Demolition of existing Cap beams and piles and existing old footings | 30 | No | 75 |  | 2250 | 31.1111
2-4 | Rerouting of existing sewer system including concrete jacketting and Sleeves (8" Pipes ~45 lm including Elbows - Manholes | 45 | L.M. | 60 |  | 2700
2-5 | Manholes depth around 1.5m - Diameter 1m*1m including cover | 4 | L.M. | 750 |  | 3000
2-6 | Additional Shoring اعمال تدعيم اضافية |  |  |  |  | 0 | 11
2-6-1 | Shoring System: Piles (concrete+ reinforcement steel) including casing where needed L=9m ; no=26+11+5=42; or equivalent shoring system to support (14+6+4)*7=168m2 | 378 | L.M. | 119.7 |  | 45246.6 | 42
2-6-2 | Anchors L=15 ; No=8+2+2=12 | 180 | L.M. | 60 |  | 10800
2-6-3 | Shoring Mobilisation | 1 | No | 2000 |  | 2000
2-6-4 | Shoring Demobilisation | 1 | No | 2000 |  | 2000
2-6-5 | Capping Beam | 27.3 | L.M. | 260 |  | 7098
2-6-6 | Whailer Beam | 20 | L.M. | 100 |  | 2000 | 69144.6
2-7 | External Monument Cladding: Demolition & Reinstallation |  |  |  |  | 0
2-7-1 | Decorative Marble Th=2cm W=40cm | 37.8 | L.M. | 65 |  | 2457
2-7-2 | Decorative Marble Th=2cm W=30cm | 26 | L.M. | 55 |  | 1430
2-7-3 | Copping Marble (For Top) Th=3cm W=40cm | 26 | L.M. | 50 |  | 1300
2-8 | Duct Bank Temporary Reinforcement HEA300 with bracing and cabling each 1m | 2300 | KG | 2.5 |  | 5750
| CAST IN PLACE CONCRETE |  |  |  |  | 0
3-1 | Blinding (100mm) thick - below Foundation باطون نظافة | 7.21 | m³ | 100 |  | 721
3-2 | Shear Walls (one sided) & Lifts & walls يتصمن حديد تسليح مقاوم للزلازل | 170 | m³ | 325 |  | 55250 | 172.3725
3-3 | Additive concrete quantities due to one sided wall (material concrete only) | 72 | m³ | 80 |  | 5760 | 0.64286
3-4 | Foundations - Cement Type V | 48.8 | m³ | 325 |  | 15860
3-5 | Polystyrene for clearance with existing structure | 38.265 | m³ | 100 |  | 3826.5
3-6 | Solid slabs مع حديد تسليح مواقم للأوزان الثقيلة المتوقع أن يحملها المبنى | 106.896 | m³ | 300 |  | 32068.8
3-7 | Stairs and Landings أدراج | 13 | m³ | 400 |  | 5200
3-8 | Extra over on concrete for admixtures (making concrete Waterproof) أدراج | 370 | m³ | 11 |  | 4070
| CONCRETE UNIT MASONRY (04220) |  |  |  |  | 0
4-1 | Extra over cable wall detail + cover خرق الحيطان مع غطاء متنقل قابلة للتعديل مستقبليا دون الحاجة الى أي تكسير للحيطان أو تمديد ظاهر | 20 | L.M. | 100 |  | 2000
0
| Precast concrete special blocks anti bullet, jointed in cement and sand mortar only اعمال حيطان من احجار الباطون الصم سماكة 20سم مقاوم للرصاص مصنع على قوالب خاصة بالمشروع يعد الـتأكد من تحمله الرصاص من قبل لجنة الاستلام |  |  |  |  | 0
4-2 | All sizes | 93 | m² | 34 |  | 3162
0
| WATERPROOFING اعمال منع نش |  |  |  |  | 0
| Swelling Bar |  |  |  |  | 0
7-1 | To all horizental and vertical strips | 291.69 | m | 16 |  | 4667.04
7-2 | To floor in wet areas transparent - Pure ارضية المناطق الرطبة | 25 | m² | 13 |  | 325
7-3 | To perimeter of ditto, average 200mm high including cantstrip دهان نعلات ارتفاع 20سم بما فيه كعكة من الاسمنت | 29.6 | m | 12 |  | 355.2
0
| STEEL WORKS اعمال حديدية |  |  |  |  | 0
| 40 mm thick flush steel doors comprising steel sheet, frames, angles, plates beads, lugs, painting, ironmongery and all necessary fixing accessories. |  |  |  |  | 0
8-1 | Type MD4, overall size 1000x2200mm high, single leaf door باب درفة واحدة 100سم | 9 | No | 500 |  | 4500
8-2 | Main Gate 6m width x 4m Height - Sliding Electrical: Ayros European Motor Or Equivalent. Automatic: with advanced controller Steel Weight around 1 Ton | 1 | No | 6000 |  | 6000
| GLAZING |  |  |  |  | 0
| 6mm thick polished plate glass mirrors, fixed with adhesive with 30mm chamfered edge, cut to size including all necessary fixing accessories مرايا |  |  |  |  | 0
0
8-3 | Size 800x600mm high | 2 | U | 50 |  | 100
0
| WOOD DOORS |  |  |  |  | 0
| Wood doors including supports, painting, hardware, finishing and all necessary fixing accessories Diamond or equivalent. |  |  |  |  | 0
0
8-4 | Type D4, overall dim. 900x2200 mm high single leaf door | 4 | No | 450 |  | 1800
8-5 | Type D5, overall dim. 1000x2200 mm high single leaf door | 2 | No | 500 |  | 1000
8-6 | Type D6, overall dim. 900x180 mm high single leaf door to all shaft doors ابواب للمناور لكافة المبنى | 23 | No | 300 |  | 6900
0
| PORTLAND CEMENT PLASTER |  |  |  |  | 0
| اعمال الورقة |  |  |  |  | 0
| Cement and sand plastering, (all internal including SBR). In case of using plywood formwork to ceilings and Walls, contrator will repair surfaces for painting and areas invlolved would be accounted as plastered. |  |  |  |  | 0
| توريق ودع مع مواد تلزيق SBR او استعمال الواح من PLYWOOD وتنظيفه جيدا |  |  |  |  | 0
9-1 | 15mm thick in one coat to walls and columns | 808 | m² | 9 |  | 7272
9-2 | 15mm thick in one coats to ceilings - fair faced concrete | 312 | m² | 9 |  | 2808
9-3 | 15mm thick in one coats to sloped ceilings للأسقف المائلة لزوم الجدران | 30 | m² | 10 |  | 300
0
| CERAMIC FLOOR TILES |  |  |  |  | 0
| لزوم الارضية |  |  |  |  | 0
| Ceramic floor tiles including cement and sand mortar bed, Luxury Pro grouting or equivalent. |  |  |  |  | 0
0
9-4 | To floors, 600x600x9mm thick. | 328.4 | m² | 45 |  | 14778
| بلاط سماكة 9ملم مقاوم للأوزان الثقيلة بعد أخذ موافقة الإدارة على اللون والنوعية |  |  |  |  | 0
9-5 | Ditto, to skirting نعلة | 263.2 | m | 15 |  | 3948
9-6 | To Wc floor 20x20x6mm thick. | 8 | m² | 33 |  | 264
| CERAMIC WALL TILES |  |  |  |  | 0
| لزوم الحيطان |  |  |  |  | 0
| Glazed ceramic wall tiles made in spain including cement and sand mortar and spatter dash coat, Luxury Pro grouting or equivalent. مع اخذ موافقة الادارة على النوعية والالوان والقياس |  |  |  |  | 0
9-7 | To Wc and Kitchen sink Walls ( 20x20x6mm thick.) | 93.968 | m² | 33 |  | 3100.944
| SUSPENDED CEILING SYSTEMS |  |  |  |  | 0
| اسقف مستعارة |  |  |  |  | 0
| Suspended Vinyl (BORAL) ceiling systems, complete with CKM suspension system, supports including all necessary fixing accessories (Washable with aluminum Back). |  |  |  |  | 0
9-8 | 60x60cm tiles suspended ceiling | 336.4 | m² | 21 |  | 7064.4
0
0
| INTERIOR STONE WORKS |  |  |  |  | 0
| اعمال بنيان من الصخر |  |  |  |  | 0
| Jezzine Marble tiles for staircase, cut to size, pre-polished including cement and sand mortar, grouting and poiting. |  |  |  |  | 0
9-9 | To floors - landings سفرة الدرج | 7 | m² | 50 |  | 350
9-10 | Treads 330 mm wide x 30 mm thick الدرجة | 41 | lm | 50 |  | 2050
9-11 | Risers 120 mm high x 20 mm thick مراية الدرج | 40 | lm | 25 |  | 1000
9-12 | Skirting to profile of treads and risers نعلة | 26 | lm | 20 |  | 520
9-13 | Thresholds in variable width برطاش | 10 | lm | 20 |  | 200
0
| PAINTING |  |  |  |  | 0
| Prepare and apply roller paint Luxury Pro or equivalent; as specified |  |  |  |  | 0
9-14 | To ceilings | 342 | m² | 8 |  | 2736
| لزوم الاسقف |  |  |  |  | 0
0
| Prepare and apply emulsion paint. |  |  |  |  | 0
9-15 | To walls interior | 808 | m² | 7 |  | 5656
0
| CONVEYING SYSTEMS |  |  |  |  | 0
0
14-1 | EXTRA OVER for 2 additional floors for the conveying system of the Supply install and connect a set of 1 passenger lifts, in simplex collective selective operation, 12 stops/openings, 1200kg, complete with G.E.M. motor Italy 25hp or equivalent , steel cables 12mm Holland or equivalent , Chinese Rails, Hyundai panel board or equivalent , Monatanry Italy parachute or equivalent , Celcum sliding Doors Turkey or equivalent , LCD Dispaly Local, Cabine Local made | 2 | No | 14000 |  | 28000
| N.B: Emergency stop and UPS are Excluded |  |  |  |  | 0
| مصعد عدد 2، يتحمل 1200كلغ، 10 طوابق، بما فيه عقد صيانة لمدة سنة، مجهز لربطه بجهاز تحكم عبر الكمبيوتر building automation system |  |  |  |  | 0
0
| SANITARY FIXTURES |  |  |  |  | 0
| Lavatory مغاسل |  |  |  |  | 0
15-1 | Lecico Phoenicia Lavatory, Crayo or equivalent complete with RETRO by DAMIXA mixer and all necessary accessories and supports . مغسلة مع خلاط | 2 | No | 350 |  | 700
0
| Water Closets كرسي حمام |  |  |  |  | 0
15-2 | Lecico Phoenicia water closet, Crayo or equivalent Complete with all supports and accessories required for proper operation. | 2 | No. | 375 |  | 750
0
| Shower دوش |  |  |  |  | 0
15-3 | Shower tray and mixer RETRO by DAMIXA or equivalent | 2 | No | 275 |  | 550
0
| Pantry Sinks مجلى |  |  |  |  | 0
15-4 | Shall be frankee stainless steel made in China complete with RETRO by DAMIXA mixer or equivalent. | 2 | No | 480 |  | 960
| مجلى stainless مع خلاط وخزانة |  |  |  |  | 0
| Supply and install the following fans complete with all necessary accessories, supports. |  |  |  |  | 0
| Exhaust air Fans. مراوح |  |  |  |  | 0
15-5 | 1500 cfm/h Including duct works to be connected to building automation system لزوم الطوابق السفلية بما فية التخريق والتركيب | 2 | Unit | 2250 |  | 4500
0
| DRAINAGE |  |  |  |  | 0
| Supply and install the following miscellaneous drainage items Itani or Equivalent. |  |  |  |  | 0
| Floor drains مصافي |  |  |  |  | 0
0
15-6 | Vacuum tube RTCP 30 heat pipe (MEC solar system or equivalent) | 2 | No | 2500 |  | 5000
| انظمة طاقة شمسية (مواصفات مرفقة ربطا) بما فيه التمديدات المائية والكهربائية ولوحة تحكم |  |  |  |  | 0
0
15-7 | Size 2" (50.8mm) | 8 | No | 35 |  | 280
0
| Supply and install the following P.V.C drainage pipe Haykal Plast or equivalent works complete with all necessary supports and accessories required for proper operation. |  |  |  |  | 0
0
15-8 | Size 2" (50.8mm) | 60 | m | 25 |  | 1500
0
| HEATING VENTILATING AND AIR CONDITIONING |  |  |  |  | 0
| Complete with copper pipes, insulation rubber supports, condensate drain pipes, to be installed on roof… all necessary accessories York, Carrier or equivalent |  |  |  |  | 0
| تقديم وتركبيب مكيفات وتركيز الكومبرسور على السطح مع كل ما يلزم من مواسير نحاسية وتمديدات كهربائية وصحية لتصريف مياه المكيف |  |  |  |  | 0
| بما فيه تعديل ال electronic board للتمكن من شرك المكيفات على نظام التحكم Building Automation System ولترشيد استهلاك الطاقة |  |  |  |  | 0
0
0
| Ductable unit |  |  |  |  | 0
15-9-1 | Capacity 36000 BTU (average piping 47m) | 8 | No. | 2975 |  | 23800
15-9-2 | Piping, Drainage & Electrical | 376 | L.M. | 33 |  | 12408
0
0
| Miscellenious |  |  |  |  | 0
0
15-10 | Dewatering Pumps: Set of Submersible pumps including Pannel board Lauwara, Pedrollo, DAB or equivalent HP 1.5 ; Head (Ft of water): 20 | 2 | No. | 1250 |  | 2500
0
15-11 | Sewage Pumps: Set of Submersible Sewer pumps including Pannel board Lauwara, Pedrollo, DAB or equivalent HP 1.5 ; Head (Ft of water): 20 | 2 | No. | 1500 |  | 3000
0
| PANELBOARDS |  |  |  |  | 0
| Supply, install and connect the following distribution panelboard Local made , including enclosure, circuit-breakers Hyundai , relays, cabling. |  |  |  |  | 0
| All Panels to be Form 2B, IP42 |  |  |  |  | 0
| بما فيه شركهم على نظام التحكم Building Automation System |  |  |  |  | 0
0
16-1 | Extra Over Power | 1 | No | 2000 |  | 2000
0
16-2 | Extra Over UPS | 1 | No | 2000 |  | 2000
0
16-3 | Extra Over AC | 1 | No | 2000 |  | 2000
0
16-4 | Extra Over Lighting | 1 | No | 2000 |  | 2000
0
| OUTLETS |  |  |  |  | 0
0
16-5 | disconnecting Gewiss switch or equivalent + Circuit Breaker 10-20 amp For exhaust fans Hyundai | 2 | No | 125 |  | 250
0
16-6 | disconnecting Gewiss switch or equivalent + Circuit Breaker 10-20 amp For AC Hyundai | 8 | No | 125 |  | 1000
0
| WIRING DEVICES |  |  |  |  | 0
| Supply, install and connect the following wiring devices including boxes, devices, covered plates, conduits and wiring between devices and to panelboards, contactor or to switch as applicable Cable Liban or equivalent. |  |  |  |  | 0
| يشمل البند التمديدات الكهربائية |  |  |  |  | 0
16-7 | 16A 220V single socket 2P+E | 60 | No | 60 |  | 3600
0
16-8 | 16A 220V single socket 2P+E fed from UPS panel | 60 | No | 60 |  | 3600
0
16-9 | 16A 380V 3p + E | 4 | No | 90 |  | 360
0
| LIGHTING FIXTURES |  |  |  |  | 0
| Supply, install and connect the following lighting fixtures including fixtures, conduits, boxes, wires, and all necessary accessories for perfect installation of fixtures In LED Light. |  |  |  |  | 0
16-10 | Led Pannel Light P9-Round 22cm - 18 W Chassis Led Light complete recessed Lotus or equivalent | 80 | No | 40 |  | 3200
0
| TELEPHONE,DATA, CCTV, ACCESS CONTROL & INTRUSION SYSTEM |  |  |  |  | 0
| Supply, install and connect UTP cat 6 cables, boxes, conduits, cable trays. بما فيه التمديدات |  |  |  |  | 0
16-11 | Supply, install Telephone SYSTEM, UTP cat 6 data cables (PRO or equivalent), conduits, boxes | 12 | No | 75 |  | 900
16-12 | Supply, install DATA SYSTEM, UTP cat 6 data cables (PRO or equivalent), conduits, boxes only. | 60 | No | 75 |  | 4500
16-13 | Supply, install CCTV SYSTEM, UTP cat 6 data cables (PRO or equivalent), conduits, boxes only. | 22 | No | 75 |  | 1650
16-14 | Supply, install ACCESS CONTROL SYSTEM, UTP cat 6 data cables (PRO or equivalent), conduits, boxes, interface and access point complete without face recognition | 14 | No | 250 |  | 3500
0
| Fire Alarm |  |  |  |  | 0
| Fire Alarm Supply and installation of automatic fire alarm control panel, detectors, break glass and alarm bell,... and all necessary accessories. System to be Analogue Addressable Labor, tools, transport, testing, one year guarantee, made in Italy, Czech or equivalent |  |  |  |  | 0
FIRE HOSE REEL CABINET& LANDING VALVE Supply and Installation of a Fire Hose Cabinet: Recessed mounted or surface mounted type, with painted steel body, trim and door, finished with baked red enamel on inside and outside. Cabinet is to consist of one compartment to house a portable fire extinguisher and a hose real and 30 meter hose. Body and trim to be 16 gauge and door 20 gauge thickness. Door to have full panel double strength glass with ‘FIRE HOSE’ decal. Hose cabinet to be supplied from factory with the following equipment: -brass hose connector. -30m of 25 mm red rubber hose suitable for a working pressure of 1034 kPa. - Lever operated control nozzle of 6 mm orifice, swing type with jet/spray. -A 32mm inlet gate valve.- one 32mm x 25mm brass reducer coupling. - Fire Brigade landing valve. LV shall be cast brass angle valve complete with cap and chain finishing shall be polished chrome plating or as directed by Site Architect. -6 kg ABC nitrogen operated dry chemical fire extinguisher.
FIRE PUMPING SET Installation of a 1,5 l/s at 200 Kpa static pressure fire fighting pump set one duty one standby with one jockey 0.5 l/s at 200 Kpa , complete with valves, pressure vessel, connections, electrical & control panel and all the necessary fittings and accessories Lowara - Perdrollo - DAB Or equivalent.
16-15 | Fire rated Cabling for fire alarm system including PVC conduits and boxes | 17 | No | 30 |  | 510
16-16 | Extra over Complete fire system including jockey Pump and fire hose cabinet for two additional floor | 2 | No | 6875 |  | 13750 | 6875
| Building automation system |  |  |  |  | 0
TPC5.0-D 5.0 Inch Touch LCD 9-12.7 VDC 250mA DCOC-S-06 DIN Rail Dry Contact Output Controller; 6 x 240VAC / 1A Contact RSC-S-03 Din Rail Rolling Shutter Controller; 3 x 240VAC / 1A Contact DCDIM-010V-PWM(Inc Ballast) LED dimmer module PWM Fused output LDC-S-04-010V Din Rail LED Dimmer controller 4 x 1-10V analog Outputs DCIC-S-08 Din Rail Dry Contact input Controller Fused COM up to 0.5A 8 x Optically Isolated Inputs EC-E-10T-S 10BaseT Ethernet Controller, minicomputer TCP Server Ethernet/Bus Gateway Automation Task Scheduling Scenarios PS-12V 12V Power Supply Brick Overload protection AC Controller unit AC main controller unit ; Fire alarm controller unit Access control controller unit ; Intrusion controller unit Fans controller unit ; Elevator control unit I,T&C Installation, testing and commissioning
16-17 | Extra Over Building Automation System (Specially customized by MEC) embedded the access control features, intrusion zone alarm,fire alarm, lighting, fans, A.C. units, Power, Elevators and UPS for two additional floor | 2 | L.S | 14750 |  | 29500
0
| Earthing system & Cable Tray |  |  |  |  | 0
16-18 | Extra over Earthing System: Complete earthing system to be connected to raft | 1 | L.S | 950 |  | 950
16-19 | Cable Tray: Supply and installation of hot dip galvalized cable trays / ladders, including c-channels, threaded rods, rawl bolts, wall supports, and all necessary accessories, earthing between trays, etc. Labor, tools, transportation, testing Size from 300mm till 600mm x 50m | 35 | lm | 40 |  | 1400
| Design |  |  |  |  | 0
17 | Design+ As Built Drawings for two additional floors including all the engineerings trades: architectural, civil, mechanical, electrical, plumping, shoring systems, ... (around 5% construction cost) | 1 | No | 23899.5117 |  | 23899.5117 | 246264.8557
| المجموع بالارقام (بدون الضريبة على القيمة المضافة) |  |  |  |  | 501889.7457
المجموع بالاحرف (بدون الضريبة على القيمة المضافة)
| مجموع قيمة الضريبة على القيمة المضافة (نسبة 10%) |  |  |  |  | 50188.9746
| المجموع بالارقام (مع الضريبة على القيمة المضافة للمسجلين بها) |  |  |  |  | 552078.7203
المجموع بالاحرف (مع الضريبة على القيمة المضافة للمسجلين بها)
كشف تقديري
| Carried to Summary |  |  | US$ |  | #REF!

## Tilzim
ملحق رقم 1
لتنفيذ أشغال: ملحق تعديلي للمبنى الجاري استحداثه في ثكنة المقر العام
متسلسل | نوع الاشغال ومواصفات الاشغال الفنية | الكمية | الوحدة | السعر الافرادي د.أ. |  | السعر الاجمالي د.أ.
|  |  |  | بالارقام | بالأحرف | بالارقام
General Items
2-1 | Additional Excavation works زيادة حفريات | 1395.75 | M3 |  |  | 0 | 7.5
2-2 | removal of debries outside site نقل الحفريات الى مكان مسموح به خارج الورشة | 1395.75 | M3 |  |  | 0
2-3 | Demolition of existing Cap beams and piles and existing old footings | 30 | No |  |  | 0 | 31.1111
2-4 | Rerouting of existing sewer system including concrete jacketting and Sleeves (8" Pipes ~45 lm including Elbows - Manholes | 45 | L.M. |  |  | 0
2-5 | Manholes depth around 1.5m - Diameter 1m*1m including cover | 4 | L.M. |  |  | 0
2-6 | Additional Shoring اعمال تدعيم اضافية |  |  |  |  | 0 | 11
2-6-1 | Shoring System: Piles (concrete+ reinforcement steel) including casing where needed L=9m ; no=26+11+5=42; or equivalent shoring system to support (14+6+4)*7=168m2 | 378 | L.M. |  |  | 0 | 42
2-6-2 | Anchors L=15 ; No=8+2+2=12 | 180 | L.M. |  |  | 0
2-6-3 | Shoring Mobilisation | 1 | No |  |  | 0
2-6-4 | Shoring Demobilisation | 1 | No |  |  | 0
2-6-5 | Capping Beam | 27.3 | L.M. |  |  | 0
2-6-6 | Whailer Beam | 20 | L.M. |  |  | 0 | 0
2-7 | External Monument Cladding: Demolition & Reinstallation |  |  |  |  | 0
2-7-1 | Decorative Marble Th=2cm W=40cm | 37.8 | L.M. |  |  | 0
2-7-2 | Decorative Marble Th=2cm W=30cm | 26 | L.M. |  |  | 0
2-7-3 | Copping Marble (For Top) Th=3cm W=40cm | 26 | L.M. |  |  | 0
2-8 | Duct Bank Temporary Reinforcement HEA300 with bracing and cabling each 1m | 2300 | KG |  |  | 0
| CAST IN PLACE CONCRETE |  |  |  |  | 0
3-1 | Blinding (100mm) thick - below Foundation باطون نظافة | 7.21 | m³ |  |  | 0
3-2 | Shear Walls (one sided) & Lifts & walls يتصمن حديد تسليح مقاوم للزلازل | 170 | m³ |  |  | 0 | 172.3725
3-3 | Additive concrete quantities due to one sided wall (material concrete only) | 72 | m³ |  |  | 0 | 0.64286
3-4 | Foundations - Cement Type V | 48.8 | m³ |  |  | 0
3-5 | Polystyrene for clearance with existing structure | 38.265 | m³ |  |  | 0
3-6 | Solid slabs مع حديد تسليح مواقم للأوزان الثقيلة المتوقع أن يحملها المبنى | 106.896 | m³ |  |  | 0
3-7 | Stairs and Landings أدراج | 13 | m³ |  |  | 0
3-8 | Extra over on concrete for admixtures (making concrete Waterproof) أدراج | 370 | m³ |  |  | 0
| CONCRETE UNIT MASONRY (04220) |  |  |  |  | 0
4-1 | Extra over cable wall detail + cover خرق الحيطان مع غطاء متنقل قابلة للتعديل مستقبليا دون الحاجة الى أي تكسير للحيطان أو تمديد ظاهر | 20 | L.M. |  |  | 0
0
| Precast concrete special blocks anti bullet, jointed in cement and sand mortar only اعمال حيطان من احجار الباطون الصم سماكة 20سم مقاوم للرصاص مصنع على قوالب خاصة بالمشروع يعد الـتأكد من تحمله الرصاص من قبل لجنة الاستلام |  |  |  |  | 0
4-2 | All sizes | 93 | m² |  |  | 0
0
| WATERPROOFING اعمال منع نش |  |  |  |  | 0
| Swelling Bar |  |  |  |  | 0
7-1 | To all horizental and vertical strips | 291.69 | m |  |  | 0
7-2 | To floor in wet areas transparent - Pure ارضية المناطق الرطبة | 25 | m² |  |  | 0
7-3 | To perimeter of ditto, average 200mm high including cantstrip دهان نعلات ارتفاع 20سم بما فيه كعكة من الاسمنت | 29.6 | m |  |  | 0
0
| STEEL WORKS اعمال حديدية |  |  |  |  | 0
| 40 mm thick flush steel doors comprising steel sheet, frames, angles, plates beads, lugs, painting, ironmongery and all necessary fixing accessories. |  |  |  |  | 0
8-1 | Type MD4, overall size 1000x2200mm high, single leaf door باب درفة واحدة 100سم | 9 | No |  |  | 0
8-2 | Main Gate 6m width x 4m Height - Sliding Electrical: Ayros European Motor Or Equivalent. Automatic: with advanced controller Steel Weight around 1 Ton | 1 | No |  |  | 0
| GLAZING |  |  |  |  | 0
| 6mm thick polished plate glass mirrors, fixed with adhesive with 30mm chamfered edge, cut to size including all necessary fixing accessories مرايا |  |  |  |  | 0
0
8-3 | Size 800x600mm high | 2 | U |  |  | 0
0
| WOOD DOORS |  |  |  |  | 0
| Wood doors including supports, painting, hardware, finishing and all necessary fixing accessories Diamond or equivalent. |  |  |  |  | 0
0
8-4 | Type D4, overall dim. 900x2200 mm high single leaf door | 4 | No |  |  | 0
8-5 | Type D5, overall dim. 1000x2200 mm high single leaf door | 2 | No |  |  | 0
8-6 | Type D6, overall dim. 900x180 mm high single leaf door to all shaft doors ابواب للمناور لكافة المبنى | 23 | No |  |  | 0
0
| PORTLAND CEMENT PLASTER |  |  |  |  | 0
| اعمال الورقة |  |  |  |  | 0
| Cement and sand plastering, (all internal including SBR). In case of using plywood formwork to ceilings and Walls, contrator will repair surfaces for painting and areas invlolved would be accounted as plastered. |  |  |  |  | 0
| توريق ودع مع مواد تلزيق SBR او استعمال الواح من PLYWOOD وتنظيفه جيدا |  |  |  |  | 0
9-1 | 15mm thick in one coat to walls and columns | 808 | m² |  |  | 0
9-2 | 15mm thick in one coats to ceilings - fair faced concrete | 312 | m² |  |  | 0
9-3 | 15mm thick in one coats to sloped ceilings للأسقف المائلة لزوم الجدران | 30 | m² |  |  | 0
0
| CERAMIC FLOOR TILES |  |  |  |  | 0
| لزوم الارضية |  |  |  |  | 0
| Ceramic floor tiles including cement and sand mortar bed, Luxury Pro grouting or equivalent. |  |  |  |  | 0
0
9-4 | To floors, 600x600x9mm thick. | 328.4 | m² |  |  | 0
| بلاط سماكة 9ملم مقاوم للأوزان الثقيلة بعد أخذ موافقة الإدارة على اللون والنوعية |  |  |  |  | 0
9-5 | Ditto, to skirting نعلة | 263.2 | m |  |  | 0
9-6 | To Wc floor 20x20x6mm thick. | 8 | m² |  |  | 0
| CERAMIC WALL TILES |  |  |  |  | 0
| لزوم الحيطان |  |  |  |  | 0
| Glazed ceramic wall tiles made in spain including cement and sand mortar and spatter dash coat, Luxury Pro grouting or equivalent. مع اخذ موافقة الادارة على النوعية والالوان والقياس |  |  |  |  | 0
9-7 | To Wc and Kitchen sink Walls ( 20x20x6mm thick.) | 93.968 | m² |  |  | 0
| SUSPENDED CEILING SYSTEMS |  |  |  |  | 0
| اسقف مستعارة |  |  |  |  | 0
| Suspended Vinyl (BORAL) ceiling systems, complete with CKM suspension system, supports including all necessary fixing accessories (Washable with aluminum Back). |  |  |  |  | 0
9-8 | 60x60cm tiles suspended ceiling | 336.4 | m² |  |  | 0
0
0
| INTERIOR STONE WORKS |  |  |  |  | 0
| اعمال بنيان من الصخر |  |  |  |  | 0
| Jezzine Marble tiles for staircase, cut to size, pre-polished including cement and sand mortar, grouting and poiting. |  |  |  |  | 0
9-9 | To floors - landings سفرة الدرج | 7 | m² |  |  | 0
9-10 | Treads 330 mm wide x 30 mm thick الدرجة | 41 | lm |  |  | 0
9-11 | Risers 120 mm high x 20 mm thick مراية الدرج | 40 | lm |  |  | 0
9-12 | Skirting to profile of treads and risers نعلة | 26 | lm |  |  | 0
9-13 | Thresholds in variable width برطاش | 10 | lm |  |  | 0
0
| PAINTING |  |  |  |  | 0
| Prepare and apply roller paint Luxury Pro or equivalent; as specified |  |  |  |  | 0
9-14 | To ceilings | 342 | m² |  |  | 0
| لزوم الاسقف |  |  |  |  | 0
0
| Prepare and apply emulsion paint. |  |  |  |  | 0
9-15 | To walls interior | 808 | m² |  |  | 0
0
| CONVEYING SYSTEMS |  |  |  |  | 0
0
14-1 | EXTRA OVER for 2 additional floors for the conveying system of the Supply install and connect a set of 1 passenger lifts, in simplex collective selective operation, 12 stops/openings, 1200kg, complete with G.E.M. motor Italy 25hp or equivalent , steel cables 12mm Holland or equivalent , Chinese Rails, Hyundai panel board or equivalent , Monatanry Italy parachute or equivalent , Celcum sliding Doors Turkey or equivalent , LCD Dispaly Local, Cabine Local made | 2 | No |  |  | 0
| N.B: Emergency stop and UPS are Excluded |  |  |  |  | 0
| مصعد عدد 2، يتحمل 1200كلغ، 10 طوابق، بما فيه عقد صيانة لمدة سنة، مجهز لربطه بجهاز تحكم عبر الكمبيوتر building automation system |  |  |  |  | 0
0
| SANITARY FIXTURES |  |  |  |  | 0
| Lavatory مغاسل |  |  |  |  | 0
15-1 | Lecico Phoenicia Lavatory, Crayo or equivalent complete with RETRO by DAMIXA mixer and all necessary accessories and supports . مغسلة مع خلاط | 2 | No |  |  | 0
0
| Water Closets كرسي حمام |  |  |  |  | 0
15-2 | Lecico Phoenicia water closet, Crayo or equivalent Complete with all supports and accessories required for proper operation. | 2 | No. |  |  | 0
0
| Shower دوش |  |  |  |  | 0
15-3 | Shower tray and mixer RETRO by DAMIXA or equivalent | 2 | No |  |  | 0
0
| Pantry Sinks مجلى |  |  |  |  | 0
15-4 | Shall be frankee stainless steel made in China complete with RETRO by DAMIXA mixer or equivalent. | 2 | No |  |  | 0
| مجلى stainless مع خلاط وخزانة |  |  |  |  | 0
| Supply and install the following fans complete with all necessary accessories, supports. |  |  |  |  | 0
| Exhaust air Fans. مراوح |  |  |  |  | 0
15-5 | 1500 cfm/h Including duct works to be connected to building automation system لزوم الطوابق السفلية بما فية التخريق والتركيب | 2 | Unit |  |  | 0
0
| DRAINAGE |  |  |  |  | 0
| Supply and install the following miscellaneous drainage items Itani or Equivalent. |  |  |  |  | 0
| Floor drains مصافي |  |  |  |  | 0
0
15-6 | Vacuum tube RTCP 30 heat pipe (MEC solar system or equivalent) | 2 | No |  |  | 0
| انظمة طاقة شمسية (مواصفات مرفقة ربطا) بما فيه التمديدات المائية والكهربائية ولوحة تحكم |  |  |  |  | 0
0
15-7 | Size 2" (50.8mm) | 8 | No |  |  | 0
0
| Supply and install the following P.V.C drainage pipe Haykal Plast or equivalent works complete with all necessary supports and accessories required for proper operation. |  |  |  |  | 0
0
15-8 | Size 2" (50.8mm) | 60 | m |  |  | 0
0
| HEATING VENTILATING AND AIR CONDITIONING |  |  |  |  | 0
| Complete with copper pipes, insulation rubber supports, condensate drain pipes, to be installed on roof… all necessary accessories York, Carrier or equivalent |  |  |  |  | 0
| تقديم وتركبيب مكيفات وتركيز الكومبرسور على السطح مع كل ما يلزم من مواسير نحاسية وتمديدات كهربائية وصحية لتصريف مياه المكيف |  |  |  |  | 0
| بما فيه تعديل ال electronic board للتمكن من شرك المكيفات على نظام التحكم Building Automation System ولترشيد استهلاك الطاقة |  |  |  |  | 0
0
0
| Ductable unit |  |  |  |  | 0
15-9-1 | Capacity 36000 BTU (average piping 47m) | 8 | No. |  |  | 0
15-9-2 | Piping, Drainage & Electrical | 376 | L.M. |  |  | 0
0
0
| Miscellenious |  |  |  |  | 0
0
15-10 | Dewatering Pumps: Set of Submersible pumps including Pannel board Lauwara, Pedrollo, DAB or equivalent HP 1.5 ; Head (Ft of water): 20 | 2 | No. |  |  | 0
0
15-11 | Sewage Pumps: Set of Submersible Sewer pumps including Pannel board Lauwara, Pedrollo, DAB or equivalent HP 1.5 ; Head (Ft of water): 20 | 2 | No. |  |  | 0
0
| PANELBOARDS |  |  |  |  | 0
| Supply, install and connect the following distribution panelboard Local made , including enclosure, circuit-breakers Hyundai , relays, cabling. |  |  |  |  | 0
| All Panels to be Form 2B, IP42 |  |  |  |  | 0
| بما فيه شركهم على نظام التحكم Building Automation System |  |  |  |  | 0
0
16-1 | Extra Over Power | 1 | No |  |  | 0
0
16-2 | Extra Over UPS | 1 | No |  |  | 0
0
16-3 | Extra Over AC | 1 | No |  |  | 0
0
16-4 | Extra Over Lighting | 1 | No |  |  | 0
0
| OUTLETS |  |  |  |  | 0
0
16-5 | disconnecting Gewiss switch or equivalent + Circuit Breaker 10-20 amp For exhaust fans Hyundai | 2 | No |  |  | 0
0
16-6 | disconnecting Gewiss switch or equivalent + Circuit Breaker 10-20 amp For AC Hyundai | 8 | No |  |  | 0
0
| WIRING DEVICES |  |  |  |  | 0
| Supply, install and connect the following wiring devices including boxes, devices, covered plates, conduits and wiring between devices and to panelboards, contactor or to switch as applicable Cable Liban or equivalent. |  |  |  |  | 0
| يشمل البند التمديدات الكهربائية |  |  |  |  | 0
16-7 | 16A 220V single socket 2P+E | 60 | No |  |  | 0
0
16-8 | 16A 220V single socket 2P+E fed from UPS panel | 60 | No |  |  | 0
0
16-9 | 16A 380V 3p + E | 4 | No |  |  | 0
0
| LIGHTING FIXTURES |  |  |  |  | 0
| Supply, install and connect the following lighting fixtures including fixtures, conduits, boxes, wires, and all necessary accessories for perfect installation of fixtures In LED Light. |  |  |  |  | 0
16-10 | Led Pannel Light P9-Round 22cm - 18 W Chassis Led Light complete recessed Lotus or equivalent | 80 | No |  |  | 0
0
| TELEPHONE,DATA, CCTV, ACCESS CONTROL & INTRUSION SYSTEM |  |  |  |  | 0
| Supply, install and connect UTP cat 6 cables, boxes, conduits, cable trays. بما فيه التمديدات |  |  |  |  | 0
16-11 | Supply, install Telephone SYSTEM, UTP cat 6 data cables (PRO or equivalent), conduits, boxes | 12 | No |  |  | 0
16-12 | Supply, install DATA SYSTEM, UTP cat 6 data cables (PRO or equivalent), conduits, boxes only. | 60 | No |  |  | 0
16-13 | Supply, install CCTV SYSTEM, UTP cat 6 data cables (PRO or equivalent), conduits, boxes only. | 22 | No |  |  | 0
16-14 | Supply, install ACCESS CONTROL SYSTEM, UTP cat 6 data cables (PRO or equivalent), conduits, boxes, interface and access point complete without face recognition | 14 | No |  |  | 0
0
| Fire Alarm |  |  |  |  | 0
| Fire Alarm Supply and installation of automatic fire alarm control panel, detectors, break glass and alarm bell,... and all necessary accessories. System to be Analogue Addressable Labor, tools, transport, testing, one year guarantee, made in Italy, Czech or equivalent |  |  |  |  | 0
FIRE HOSE REEL CABINET& LANDING VALVE Supply and Installation of a Fire Hose Cabinet: Recessed mounted or surface mounted type, with painted steel body, trim and door, finished with baked red enamel on inside and outside. Cabinet is to consist of one compartment to house a portable fire extinguisher and a hose real and 30 meter hose. Body and trim to be 16 gauge and door 20 gauge thickness. Door to have full panel double strength glass with ‘FIRE HOSE’ decal. Hose cabinet to be supplied from factory with the following equipment: -brass hose connector. -30m of 25 mm red rubber hose suitable for a working pressure of 1034 kPa. - Lever operated control nozzle of 6 mm orifice, swing type with jet/spray. -A 32mm inlet gate valve.- one 32mm x 25mm brass reducer coupling. - Fire Brigade landing valve. LV shall be cast brass angle valve complete with cap and chain finishing shall be polished chrome plating or as directed by Site Architect. -6 kg ABC nitrogen operated dry chemical fire extinguisher.
FIRE PUMPING SET Installation of a 1,5 l/s at 200 Kpa static pressure fire fighting pump set one duty one standby with one jockey 0.5 l/s at 200 Kpa , complete with valves, pressure vessel, connections, electrical & control panel and all the necessary fittings and accessories Lowara - Perdrollo - DAB Or equivalent.
16-15 | Fire rated Cabling for fire alarm system including PVC conduits and boxes | 17 | No |  |  | 0
16-16 | Extra over Complete fire system including jockey Pump and fire hose cabinet for two additional floor | 2 | No |  |  | 0 | 6875
| Building automation system |  |  |  |  | 0
TPC5.0-D 5.0 Inch Touch LCD 9-12.7 VDC 250mA DCOC-S-06 DIN Rail Dry Contact Output Controller; 6 x 240VAC / 1A Contact RSC-S-03 Din Rail Rolling Shutter Controller; 3 x 240VAC / 1A Contact DCDIM-010V-PWM(Inc Ballast) LED dimmer module PWM Fused output LDC-S-04-010V Din Rail LED Dimmer controller 4 x 1-10V analog Outputs DCIC-S-08 Din Rail Dry Contact input Controller Fused COM up to 0.5A 8 x Optically Isolated Inputs EC-E-10T-S 10BaseT Ethernet Controller, minicomputer TCP Server Ethernet/Bus Gateway Automation Task Scheduling Scenarios PS-12V 12V Power Supply Brick Overload protection AC Controller unit AC main controller unit ; Fire alarm controller unit Access control controller unit ; Intrusion controller unit Fans controller unit ; Elevator control unit I,T&C Installation, testing and commissioning
16-17 | Extra Over Building Automation System (Specially customized by MEC) embedded the access control features, intrusion zone alarm,fire alarm, lighting, fans, A.C. units, Power, Elevators and UPS for two additional floor | 2 | L.S |  |  | 0
0
| Earthing system & Cable Tray |  |  |  |  | 0
16-18 | Extra over Earthing System: Complete earthing system to be connected to raft | 1 | L.S |  |  | 0
16-19 | Cable Tray: Supply and installation of hot dip galvalized cable trays / ladders, including c-channels, threaded rods, rawl bolts, wall supports, and all necessary accessories, earthing between trays, etc. Labor, tools, transportation, testing Size from 300mm till 600mm x 50m | 35 | lm |  |  | 0
| Design |  |  |  |  | 0
17 | Design+ As Built Drawings for two additional floors including all the engineerings trades: architectural, civil, mechanical, electrical, plumping, shoring systems, ... (around 5% construction cost) | 1 | No |  |  | 0 | 0
| المجموع بالارقام (بدون الضريبة على القيمة المضافة) |  |  |  |  | 0
المجموع بالاحرف (بدون الضريبة على القيمة المضافة)
| مجموع قيمة الضريبة على القيمة المضافة (نسبة 10%) |  |  |  |  | 0
| المجموع بالارقام (مع الضريبة على القيمة المضافة للمسجلين بها) |  |  |  |  | 0
المجموع بالاحرف (مع الضريبة على القيمة المضافة للمسجلين بها)
ملحق رقم 1
| Carried to Summary |  |  | US$ |  | #REF!

## امضاء تلزيم
فريق اول صدق المدير العام لقوى الأمن الداخلي | نظر رئيس الادارة المركزية | دققه رئيس مصلحة الابنية | نظمه رئيس مكتب الدروس | وضعه رئيس مكتب التلزيم | فريق ثان
اللواء إبراهيم بصبوص | العميد أسعد طفيلي | العقيد المهندس سعد سيقلي | العقيد المهندس عامر السحمراني | الرائد شادي سرحال

## امضاء دروس
رئيس مكتب الدروس العقيد المهندس عامر السحمراني | احد ضباط مكتب الدروس الملازم اول المهندس ماريو صليبا